## Mechanical
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Mechanical
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 |  |  | 0
Subtotal 1 |  |  | 0
2 | Paumanok Hall VST | Climate controll HVAC system | 400000 | Lizardos
2 | Sagtikos Center | Chillers | 520000 | NYPA |  | NYPA
2 | Sagtikos Center | Cooling tower | 180000 | NYPA |  | NYPA
2 | HS&E Building | Replace domestic hot water system | 51000 | ThermoTech
2 | Caumsett Hall | Replacement of boilers | 170000 | NYPA |  | NYPA
2 | Caumsett Hall | Replacement of chillers | 183000 | NYPA |  | NYPA
2 | Kids Cottage | Install gas furnace | 25000 | Estimate
2 | Captree Commons | Kitchen make up air unit | 58500 | Best Climate |  | Operating
2 | Nesconset Hall | HVAC unit | 80000 | Best Climate
2 | Nesconset Hall | Climate controls | 85000 | Estimate
2 | Sagtikos Center | Boilers | 270000 | NYPA |  | NYPA
2 | Caumsett Hall | Replace air handlers | 200000 | Lizardos
Subtotal 2 |  |  | 2222500
3 | Kids Cottage | HVAC (Compressor) | 2000 | Estimate
3 | 1990 Chevy Van | Replacement | 18000 | Estimate |  | Eqpt Ops
3 | 1991 Chevy Van | Replacement | 18000 | Estimate |  | Eqpt Ops
3 | 1993 Ford Ranger Pickup | Replacement | 18000 | Estimate |  | Eqpt Ops
3 | 1989 Chevy Station Wag | Replacement | 18000 | Estimate |  | Eqpt Ops
3 | 1997 F-450 Dump Truck | Replacement | 45000 | Estimate |  | Eqpt Ops
3 | 1998 Hustler Winged Lawn Tractor | Replacement | 20000 | Estimate |  | Eqpt Ops
3 | 1993 F-250 4wd Ford Pick Up | Replacement | 35000 | Estimate |  | Eqpt Ops
3 | 1991 Dodge Van | Replacement | 18000 | Estimate |  | Eqpt Ops
Subtotal 3 |  |  | 192000
Total |  |  | 2414500
NYPA |  |  | 1323000
Ops |  |  | 250500
New Cap |  |  | 841000

## Electrical
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Electrical
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 | Warehouse | Replace switchgear | 130000 | Eldor |  | Existing Cap
Subtotal 1 |  |  | 130000
2 | Caumsett Hall | Generator | 45000 | Eldor
2 | Athletic Fields | Scoreboards | 97000 | All Service
2 | Captree Commons | Handicap door push buttons | 32000 | All Service
2 | Sagtikos | Center electronic door | 8000 | Estimate
Subtotal 2 |  |  | 182000
Subtotal 3 |  |  | 0
Total |  |  | 312000
Exist Cap |  |  | 130000
New Cap |  |  | 182000

## Asphalt Paving
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Asphalt Paving and Roadway Drainage
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 |  |  | 0
Subtotal 1 |  |  | 0
2 | Lot 4C | Re-pave | 300000 | County Bid Pricing
2 | HS&E Ctr. | New lot near police academy | 580000 | County Bid Pricing
2 | Campus Wide | Road patching | 100000 | Estimate
2 | Campus Wide | Road/lot re-stripping | 80000 | Estimate
Subtotal 2 |  |  | 1060000
Subtotal 3 |  |  | 0
Total |  |  | 1060000
Paving |  |  | 980000
New Cap |  |  | 80000

## Concrete
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Concrete
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 | Campus Wide | Walk ways and curbs | 115000 | Estimate
Subtotal 1 |  |  | 115000
2 | Caumsett Hall | Front and rear entrances | 67000 | Estimate
Subtotal 2 |  |  | 67000
3 |  |  | 0
Subtotal 3 |  |  | 0
Total |  |  | 182000

## Life Safety
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Life Safety (Fire Safety)
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 | Sagitkos Center | Replacment/Update Fire alarm panel | 10000 | Estimate |  | Cen. Ops
1 | Nesconsett Hall | Replacment/Update Fire alarm panel | 8000 | Estimate |  | Cen. Ops
Subtotal 1 |  |  | 18000
Subtotal 2 |  |  | 0
Subtotal 3 |  |  | 0
Total |  |  | 18000
Cen. Ops |  |  | 18000
New Cap |  |  | 0

## Roofs
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Roofs
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 |  |  | 0
Subtotal 1 |  |  | 0
2 | Sagkitos Ctr | Roof repairs | 7000 | Statewide
2 | Caumsett Hall | Rear roof replacment | 7200 | Estimate
2 | Nesconsett hall | Roof repairs | 5900 | Statewide
2 | Captree Commons | Roof repairs | 15000 | Statewide
2 | Paumanok Hall | Roof repairs | 10600 | Statewide
Subtotal 2 |  |  | 45700
Subtotal 3 |  |  | 0
Total |  |  | 45700

## Waterproofing
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Waterproofing
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
0
Subtotal 1 |  |  | 0
2 | Sagtikos | Water infiltration through brick on upper level | 100000 | Estimate |  | Exist. Cap.
Subtotal 2 |  |  | 100000
0
Subtotal 3 |  |  | 0
Total |  |  | 100000
Exist Cap. |  |  | -741000
New Cap |  |  | -641000

## Site Lighting
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Site Lighting
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 | Campus Wide | Security lighting revisions and improvements | 103000 | All Service
1 | Sagtikos | Walkway poles (4) | 12000 | Estimate
Subtotal 1 |  |  | 115000
0
Subtotal 2 |  |  | 0
0
Subtotal 3 |  |  | 0
Total |  |  | 115000
Grant |  |  | 28000
New Cap. |  |  | 87000

## Environmental
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: Environmental
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 |  |  | 0
Subtotal 1 |  |  | 0
2 |  |  | 0
Subtotal 2 |  |  | 0
3 | Three entrances | Sprinkler/irrigation systems | 52500 | L&M Specialty |  | Ops. Request
3 | Captree Commons | Landscaping front entrance (materials only) | 45000 | Estimate |  | Ops. Request
Subtotal 3 |  |  | 97500
Total |  |  | 97500
Ops Req |  |  | 97500
New Cap |  |  | 0

## Gen. Bldg.
Campus Needs Summary
Campus: M J Grant
Date: 1-24-2008
Category: General Building Repairs
Priority | Location | Description | Cost Estimate | Estimate | Operational | Fund
|  |  |  | Source | Savings | Source
1 | Paumanok Hall | Epoxy Flooring VST Kennels | 7700 | Arcoat
Subtotal 1 |  |  | 7700
2 | Sagtikos Center | Elevators passenger controls | 22000 | Barist
2 | Sagtikos Center | Elevators freight | 22000 | Barist
2 | Caumsett Hall | Rear entrance canopy | 60000 | Estimate
2 | Sagtikos & Captree | Loading dock plates (3) | 15000 | Estimate
2 | Sagtikos | Loading dock drainage | 100000 | Estimate
2 | Caumsett Hall | Roof drain dry wells (6) | 42000 | DPW K
2 | Paumanok Hall | Epoxy Flooring VST Animal Suite & Labs | 25800 | Arcoat
Subtotal 2 |  |  | 286800
3 | Caumsett | Bathroom partitions | 13300 | YES
3 | HSE Tennis Courts | Resurface | 200000 | RDA
3 | Warehouse | Addition/expansion | 130000 | RHB
3 | College Road | Entrance signage (missing letters) | 10000 | Walter Sign
Subtotal 3 |  |  | 353300
Total |  |  | 647800

## Key
Priority 1 - Critical safety issue in need of immediate attention.
Priority 2 - High priority project that does not pose an immediate safety concern but will continue to deteriorate if left unaddressed.
Priority 3 - Projects that will benefit the College operationally.

## Summary
GRANT CAMPUS INFRASTRUCTURE NEEDS SUMMARY
2008-01-01
Category | Priority 1 | Priority 2 | Priority 3 | Total
Mechanical | 0 | 2222500 | 192000 | 2414500
Electrical | 130000 | 182000 | 0 | 312000
Asphalt Paving | 0 | 1060000 | 0 | 1060000
Concrete | 115000 | 67000 | 0 | 182000
Life Safety | 18000 | 0 | 0 | 18000
Roofs | 0 | 45700 | 0 | 45700
Waterproofing | 0 | 100000 | 0 | 100000
Site Lighting | 115000 | 0 | 0 | 115000
Environmental | 0 | 0 | 97500 | 97500
General Bldg. | 7700 | 286800 | 353300 | 647800
Total | 385700 | 3964000 | 642800 | 4992500
Other Funding |  |  |  | 2927000
New Capital |  |  |  | 2065500